# NESCOPHARM AFRICA  LTD

## STANDARD OPERATING PROCEDURE

### Title: Premises Maintenance

SOP No: NSPL/SOP/WH/011
Version: 1.0
Effective Date: 01.10.2025
Review Date: 01.10.2026
Approved by: Managing Director

## 1. PURPOSE

To define the procedure for maintaining storage and distribution premises in a clean, safe, and compliant condition in accordance with WHO Good Storage and Distribution Practices (TRS 1025), ensuring protection of product quality.

## 2. SCOPE

This SOP applies to all warehouses, storage rooms, offices, loading/unloading areas, and other facilities used for the storage and distribution of medicinal products at Nescopharm Africa Limited.

## 3. RESPONSIBILITY

| Position | Responsibility |
| --- | --- |
| Warehouse Manager | Ensures premises are maintained according to SOP |
| Maintenance Staff / Contractors | Perform scheduled maintenance tasks |
| Quality Manager | Monitors maintenance compliance and records |
| Responsible Person (RP) | Approves maintenance plan and oversees execution |

## 4. DEFINITIONS

- Preventive Maintenance: Scheduled maintenance to prevent equipment/facility failure.

- Corrective Maintenance: Maintenance performed to correct identified issues.

## 5. PROCEDURE

### 5.1 Maintenance Planning

- Prepare an annual Maintenance Schedule covering all equipment, storage racks, HVAC, electrical systems, fire-fighting equipment, and warehouse infrastructure.

- Schedule preventive maintenance and inspections.

### 5.2 Routine Maintenance

- Conduct daily, weekly, and monthly checks of all premises.

- Clean and maintain warehouse floors, shelving, lighting, and access points.

- Record findings in the Maintenance Log.

### 5.3 Corrective Maintenance

- Identify defects, damages, or failures.

- Perform corrective maintenance immediately or as scheduled.

- Document actions taken and verify completion.

### 5.4 Contractor Management

- Ensure contractors performing maintenance are trained, authorized, and supervised.

- Maintain records of contractor work, inspections, and approvals.

### 5.5 Review

- Maintenance logs and completed activities shall be reviewed periodically by the Quality Manager and RP to ensure ongoing compliance with GSDP.

## 6. RECORDS / FORMS

| Record | Retention |
| --- | --- |
| Maintenance Schedule | 5 years |
| Maintenance Log | 5 years |
| Contractor Work Records | 5 years |
| Inspection Reports | 5 years |

## 7. REFERENCES

- WHO Technical Report Series 1025 – GSDP